
GAS CYLINDERS/PRESSURISED Containers




          
[image: image2.png])

i




References:                                                                                                                                                                                               

AS 2030 The approval, filling, inspection, testing and maintenance of cylinders for the storage and transport of compressed gases (known as SAA Gas Cylinders Code)











    

AS1200 Pressure equipment











            

AS 2971 Serially produced pressure vessels                                        







            

AS 1596 LP Gas Storage and handling










           

 AS 2613 Safety devices for gas cylinders









           

 AS 4484 Industrial, medical and refrigerant compressed gas cylinder identification





            

AS 3961 Liquefied natural gas - storage and handling
Note: As you work through the checklist, any item indicated as a 'No' will require an action to rectify.  Actions should be recorded. Before assigning any actions, ensure that you have contacted the proposed action officer by phone or email. 
	GAS CYLINDERS/PRESSURISED Containers

	
	YES
	NO
	N/A
	ACTION TO BE TAKEN

	If in storage are cylinders segregated by hazard, with different hazard classes separated?
	
	
	
	

	Are gas storage areas secured and separated from other areas of chemical storage?
	
	
	
	

	Are gas cylinders securely chained and supply valves closed/capped if not in use?
	
	
	
	

	Are flashback arresters used in fuel gas supply lines?
	
	
	
	

	Are non-return (check) valves fitted to all processes, which exceed cylinder pressure?
	
	
	
	

	Is gas use confined to areas with good local exhaust ventilation?
	
	
	
	

	Are specialised trolleys available for moving gas cylinders?
	
	
	
	

	Are all cylinders at least 3 metres away from ignition sources?
	
	
	
	

	Are appropriate tools and equipment provided and used?
	
	
	
	


Additional Comments:

______________________________________________________________________________________________________

Position: ___________
Name: ______________________
    Initial/Sig: _________________            Date:__________________
CDU – SEW 
Version 1.0

[image: image1]