







 



             
[image: image2.png])

i





HAZARDOUS CHEMICALS (HCs)
Note: As you work through the checklist, any item indicated as a 'No' will require an action to rectify.  Actions should be recorded. Before assigning any actions, ensure that you have contacted the proposed action officer by phone or email. 
	HAZARDOUS CHEMICALS (HCs)

	
	YES
	NO
	N/A
	ACTION TO BE TAKEN

	Policy & procedures                                    Is there a local (Unit) instruction or SOP which details the requirements for the management of HCs?
	
	
	
	

	Does the unit have an appointed and trained HCs Safety Advisor (HCSA)?
	
	
	
	

	Is the HCSA or equivalent known to workers within the Unit/workplace?
	
	
	
	

	Is there a local procedure/standing instruction for the introduction of all new HCs to the workplace (i.e. local procurement and/or introduced by contractors)?
	
	
	
	

	Is there a procedure in place for the timely disposal of HCs?
	
	
	
	

	Communication, consultation & coordination                                             Is there a system in place that enables collaboration between units holding HCs in a shared facility?
	
	
	
	

	Are workers in shared facilities made aware of the respective hazards and controls associated with the use of HCs?
	
	
	
	

	Is the method of reporting HCs incidents clearly communicated and available to all workers with the unit?
	
	
	
	

	Do Units/workplaces storing HCs in shared facilities collaborate to ensure segregation requirements are met?
	
	
	
	

	Are safety advisors within the Unit/workplace aware of base planning requirements including safety and emergency plans?
	
	
	
	

	Induction, information, training & supervision                                               Is supervision provided to workers to protect them from any risks associated with their work with HCs?
	
	
	
	


CDU – SEW 

Version 1.0

	Is a training program available on:

- chemical hazards and their effects?            - legislative requirements and responsibilities?                                           - the Risk Assessment process?                  - how to control chemical hazards in the workplace?                                                  - monitoring and health surveillance?
	
	
	
	

	Is induction, refresher and the other training programs reviewed each time there is a change in available hazard information?
	
	
	
	

	Are records of induction and training programs available?
	
	
	
	

	Emergency plans & safety equipment     Is there a documented Emergency Plan which is regularly reviewed and updated and available to all workers?
	
	
	
	

	Are there written procedures for dealing with likely emergencies including incidents involving spills of HCs?  
	
	
	
	

	Are personnel provided with induction training in emergency procedures at the workplace?
	
	
	
	

	Is an appropriate reporting system available for recording near misses, incidents, accidents and emergencies?
	
	
	
	

	Control of risk                                           Is there a written policy available for the assessment of risks at the workplace?
	
	
	
	

	Have all HCs in the workplace been identified?
	
	
	
	

	Is the assessment of risk recorded in ChemAlert for each product? (unless not required IAW procedure HC:01-08)
	
	
	
	

	Is a risk assessment conducted prior to local procurement of a HC? (unless not required IAW procedure HC:01-08)
	
	
	
	

	Are risk assessments reviewed when new evidence or changes occur or at no more than 5 yearly intervals?
	
	
	
	

	Is hazard and control information readily accessible to all workers likely to be exposed?
	
	
	
	

	Are risk control measures used to control exposure to HCs?

If ‘YES’ answer Q 15.26
	
	
	
	

	Are workers trained in the control measures?
	
	
	
	


CDU – SEW 

Version 1.0

	Are all risks from HCs controlled to acceptable levels without the need for Personal Protective Equipment (PPE)?

If answer is ‘NO’ go to Q 15.29
	
	
	
	

	Where the requirement for PPE is identified, does the following apply:

PPE is the appropriate type?
Is readily available?

Personnel are trained in correct fitting, use, storage, cleaning and maintenance?
	
	
	
	

	Are there clear lines of communication between the assessment team that conducted the risk assessment and the managers/supervisors who have the authority to implement the recommendations of the assessment process?
	
	
	
	

	Safety Data Sheets (SDS)                         Is an SDS is obtained on or before but no later than when the HC is first supplied for use at the workplace?
	
	
	
	

	Are WHS Reg compliant SDS held for all HCs used, stored or handled in the workplace?
	
	
	
	

	Are SDSs:                                                                     

- current?                                                      - within 5 years from date of issue/review?
	
	
	
	

	Are SDS readily accessible to all personnel, emergency services or anyone else who is likely to be exposed to the HC at the workplace?
	
	
	
	

	Do personnel know where to locate and when to refer to SDS for HCs they use, handle, store?
	
	
	
	

	Is there a procedure in place for dealing with non-compliant SDS's?
	
	
	
	

	HCS register                                             Is ChemAlert being used as the Defence workplace register for HCs?
	
	
	
	

	Have personnel been trained in the use of ChemAlert?
	
	
	
	

	Have all HCs used, stored or handled in the workplace been recorded in the ChemAlert Stock Holding module?
	
	
	
	

	Is the HC register (hard copy) readily accessible to all workers, and emergency services?
	
	
	
	


CDU – SEW 

Version 1.0

	Are quantities in ChemAlert been recorded as:

- maximum quantity likely to be held          - volume held e.g. litres, grams, kilograms;(ie: a half full 20 litre drum is recorded as 20 litres)
	
	
	
	

	Does the HC register includes notations on the status of risk assessment completion:
C – completed?                                         IP – in progress?                                        NR – not required?                                      NCN – no controls necessary?                     NS – not started?
	
	
	
	

	Are vessels, tanks or pipe work containing HCs (ie: fuel or gas tanks, chemical storage vessels) been recorded in the ChemAlert Stock Holding register?
	
	
	
	

	Is the HCs register (ChemAlert) maintained?
	
	
	
	

	Is there a process for maintaining the integrity of the ChemAlert database?
	
	
	
	

	Labelling                                                Are container labels in English and conform to WHS Reg Schedule 9 Part 3 Correct Labelling and Defence requirements?
	
	
	
	

	Are replacement labels being applied where a container label is:

- missing?
- damaged?
- illegible?
- obscured?
- has a non-compliant label (eg Overseas or Defence NSN stock label)?
	
	
	
	

	Is there a procedure in place for labelling containers into which a substance is decanted and not used immediately?
	
	
	
	

	Is pipe-work/pipelines within the workplace (ie: fuel or gas tanks, pipelines, chemical storage vessels) identified by a label, sign or another way on or near the pipe work?
	
	
	
	

	Placards & safety signs                           Are workplaces with HC holdings exceeding placarding threshold quantities, displaying the appropriate HC placarding for Defence chemical storage areas and workplace facilities?
	
	
	
	

	Are placards clearly legible by people approaching the placard and separate from any other sign or writing that contradicts, qualifies or distracts attention from the placard?
	
	
	
	


CDU – SEW 

Version 1.0

	Are safety signs displayed in the workplace?
	
	
	
	

	Are safety signs displayed next to the hazard?
	
	
	
	

	Are safety signs clearly legible by people approaching the sign and separate from any other sign or writing that contradicts, qualifies or distracts attention from the placard.
	
	
	
	

	Manifest of schedule 11 HCS                Are there any:

- schedule 11 HCs in amounts that exceed manifest quantity thresholds? (WHS Reg 347)?   
- abandoned tanks?  (WHS Reg 366, 367)?
- pipelines that transfer Schedule 11 HCs across a public place?    (WHS Reg 391)?

If ‘YES” answer Q 15.55 and 15.56
	
	
	
	

	Have the appropriate Notifications been submitted to Comcare (WHS Reg 348)?
	
	
	
	

	Is a Manifest of Schedule 11 HCs (web-form AE513) available at the workplace and being maintained (WHS Reg 347)?
	
	
	
	

	Is a site plan available at the workplace being and maintained (WHS Regs, Schedule 12, section 7)?
	
	
	
	

	Storage & handling systems                Are HCs:

- in quantities above placard thresholds correctly stored                                             - segregated by classification /category      - separated by distance/barriers as appropriate for Class/Division and quantity held?
	
	
	
	

	Are cabinets appropriate for the type of HCs being stored in them?
	
	
	
	

	Are cabinets labelled appropriately including contents classification, custodian details and recorded in ChemAlert?
	
	
	
	

	Has sufficient information and training been given to workers regarding HCs storage?
	
	
	
	

	Are gas storage areas separated from other HC storage areas?
	
	
	
	

	Are cylinders containing different gases appropriately segregated?
	
	
	
	

	
	
	
	
	

	Are gas cylinders stored outside the building or in an open well ventilated area?
	
	
	
	

	Are full cylinders stored separately from empty cylinders?
	
	
	
	

	Are stored gas cylinders secured to prevent accidental dislodgement?
	
	
	
	

	Are cylinders stored away from artificial sources of heat, ignition sources and combustible material?
	
	
	
	

	Is access to gas storage areas controlled to prevent unauthorised access?
	
	
	
	

	Are fire extinguishers located at or/near the gas storage area, appropriate for type of HCs being stored, and are readily accessible?
	
	
	
	

	Where gas cylinders stored inside a building, has it been assessed for:
- combustibility of the storage structure ?       - ventilation?                                               - separation distance from other HCs?

Note: Heavier than air gases need to be stored with caution to avoid gases collecting in low lying places, ie: Argon, CO2, LP gas, nitrogen
	
	
	
	

	Are appropriate warning signs in place, ie: ‘No Smoking’ or ‘No Naked Flames’?
	
	
	
	

	Are gas connection valves closed/ capped if not in use?
	
	
	
	

	Are regulators kept clean and checked for leaks?
	
	
	
	

	Are flashback arresters used in fuel gas supply lines?
	
	
	
	

	Are gas hoses correctly colour coded IAW AS 4289-1995?
	
	
	
	

	Are pressure relief devices fitted to all processes, which exceed cylinder pressure?
	
	
	
	

	Are specialised mechanical aids available for moving gas cylinders and have been certified for lifting where required?
	
	
	
	

	Is appropriate PPE is provided and being used?
	
	
	
	

	Does the HCs register contain all gas types that are stored in the vicinity of the store?
	
	
	
	


CDU – SEW 

Version 1.0

	Are damaged or leaking cylinders stored in a well ventilated area, marked as damaged and arrangements in place for collection?
	
	
	
	

	Spills & damage                                    Are Spill kits held at the workplace that are:

- appropriate for type of chemical and compatible with the chemicals being used? - regularly checked and restocked?               - sufficient to deal with quantities being stored/used?
	
	
	
	

	Have workers have been trained in emergency and spill procedures?
	
	
	
	

	Health monitoring                                   Has a workplace/risk assessment identified that workplace monitoring is required?

If ‘YES” answer Q 15.83 , 15.84 , 15.85

	
	
	
	

	If ‘health monitoring’ is required, is there a  process that ensures personnel are monitored, and results are assessed, stored and kept as a confidential record, only being released following permission from the affected worker?
	
	
	
	

	If ‘atmospheric monitoring’ is required, is there a process that ensures atmospheric monitoring is conducted and results are recorded in a register which is accessible to personnel in the workplace?
	
	
	
	

	Are procedures in place to allow implementation of the outcomes and recommendations stemming from monitoring (including resources)?
	
	
	
	

	Prohibition, authorisation & restricted use                                                     Prohibited carcinogens are NOT being used, handled or stored in the workplace (WHS Reg 380 and Schedule 10, Table 10.1, column 2)?

If ‘NO’ answer Q 15.87, 15.88

	
	
	
	

	If prohibited carcinogens are being used, handled or stored, it is only for genuine research and analysis purposes an authorisation has obtained from Comcare (WHS Reg 384)?
	
	
	
	

	Are records of exposure produced, maintained and stored if any prohibited carcinogens are used or handled?
	
	
	
	


CDU – SEW 

Version 1.0

	Restricted carcinogens are NOT being used, handled or stored in the workplace (WHS Reg 381, Schedule 10, Table 10.2, column 2)?

If ‘NO’ answer Q 15.90, 15.91

	
	
	
	

	If any restricted carcinogens are being used, handled or stored have they been authorised by Comcare (WHS Reg 384)?
	
	
	
	

	Are records of exposure produced, maintained and stored if any restricted carcinogens are used or handled?
	
	
	
	

	Restricted HCs are NOT being used, handled or stored in the workplace (WHS Reg 382, Schedule 10, table 10.3, column 2?
	
	
	
	


Additional Comments:

______________________________________________________________________________________________________

Position: ___________
Name: ______________________
    Initial/Sig: _________________            Date:__________________
CDU – SEW 

Version 1.0

[image: image1]