 











          [image: image1.png])

i






Office and Administrative Areas
Note: As you work through the checklist, any item indicated as a 'No' will require an action to rectify.  Actions should be recorded. Before assigning any actions, ensure that you have contacted the proposed action officer by phone or email. 
	Office and Administrative Areas

	
	YES
	NO
	N/A
	ACTION TO BE TAKEN

	Reporting and Recording - actions from the last inspection completed?

	
	
	
	

	Safety Notice Boards - are they free of clutter and outdated/ non safety notices; are there current listings of First aiders and Wardens?

	
	
	
	

	Toilets – are the facilities in a good condition, clean. (e.g. taps, basins, paper holders, door locks, toilet seats, mirrors etc)

	
	
	
	

	Meal/ Tea Rooms - clean and tidy?

	
	
	
	

	Drinking Water - is drinking water available?

	
	
	
	

	Floor Surfaces - clean and in good condition?

	
	
	
	

	Chairs - maintained and in good working order?

	
	
	
	

	Rubbish Bins – are they regularly emptied and cleaned?

	
	
	
	

	Emergency Phone Numbers - is information prominently displayed.

	
	
	
	

	Fire/ Building wardens - is a sign displayed indicating who are the wardens.

	
	
	
	

	Building Evacuation/ Emergency Instructions - available and displayed in each work area. e.g. notice boards.

	
	
	
	

	Fire Extinguishers/ Hoses - are clearly marked in relation to type of fire use. (e.g. water type not suitable near electrical equipment, etc), serviced and tagged in the last 6 months?

	
	
	
	

	Fire Extinguishers/Hoses - are easily accessible and hoses clear by one meter from obstacles?

	
	
	
	

	Emergency Exits - and escape routes are signed and free from obstruction?

	
	
	
	

	Exit Doors - easily opened from the inside. (i.e. door handles must be lever type and not round/ knob type).

	
	
	
	

	Bomb Threat - are protocols communicated and displayed? 


	
	
	
	

	Clear Access – are all entries and exits kept clear.

	
	
	
	

	Clear Access – are walkways at a minimum one metre wide?

	
	
	
	

	Access - is mobility impaired & trolley access available. (i.e. grade/slope of ramps, width, handrails etc)?

	
	
	
	

	Shelving - are items stored at a suitable height. (e.g. heavy items stored within easy reach at waist height, suitable ladder/step available)?

	
	
	
	

	Manual Handling - are arrangements in place to ensure heavy loads are not being carried over long distances, etc hand trolleys available?

	
	
	
	

	First Aid - facilities in place and contents in date?

	
	
	
	

	First Aid - are first aid kits easily accessed and well sign posted

	
	
	
	

	First Aiders – is there a current list of First Aiders nominated, trained and displayed?

	
	
	
	

	Electrical Testing – all electrical equipment tagged and in date?

	
	
	
	

	Double Adapters – are they eliminated from the workplace?

	
	
	
	

	Electrical – are plugs, sockets & switches in good order?

	
	
	
	

	Electrical  - there are no temporary leads on floor in walkways creating trip hazards etc?

	
	
	
	

	Electrical & Communication Leads - secured from behind computers etc. to prevent trip hazards and feet entanglement?

	
	
	
	

	Chemicals - are they all correctly labelled to ensure positive identification?

	
	
	
	

	Chemicals - are not stored in food bottles or containers (could be mistaken for drinks etc.).

	
	
	
	

	Chemicals - are Safety Data Sheets (SDS) available for all hazardous chemicals stored and used in area?

	
	
	
	

	Window Security Screens & Door Locks - are in good order?

	
	
	
	

	Monitors - are monitors set to the correct height – top of screen set to eye level when sitting upright?


	
	
	
	

	Leg Room – does each person have adequate leg room under their desk. (60 cm)

	
	
	
	

	Seating – for work stations seats to be adjustable, can both the seat pan and backrest be independently adjusted?

	
	
	
	

	Glare - is there any glare or reflection issues on the VDU screen?

	
	
	
	

	Office Equipment - do printers and photocopiers have adequate ventilation and air circulation?

	
	
	
	

	Storage Items -  do not clutter and cause trip hazards for walkways and emergency exits?

	
	
	
	

	Lighting - fluorescent tubes in good order ie none are flickering?
	
	
	
	

	Noise - is general noise level satisfactory?  Check for excess noise from printers, photocopiers, radios, etc

	
	
	
	


Additional Comments:

Position: ______________
Name: ______________________
      Initial/Sig: _________________          Date:__________________

CDU  - SEW
Version 1.0
CDU  - SEW

Version 1.0
WIC

DWHS-A Version: 1 (13 May 16)                                                                                                                                                                              Page 3 of 4  

